ONR Site Report Nuclear Restoration Services – Trawsfynydd

ONR Site Report

Nuclear Restoration Services - Trawsfynydd

Report for period: 1 April 2024 – 30 September 2024

Authored by: Nominated Site Inspector, NRS Welsh Region and NRS Corporate Inspector

Approved by: Delivery Lead Decommissioning, Fuel, and Waste

Issue No.: #

Publication Date: October 2024

ONR Record Ref. No.: 2024/40257

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the SSG and are also available on our website (http://www.onr.org.uk/llc/).

Our site inspectors usually attend SSG meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine Matters	5

3.	Non-Routine Matters	7

4.	Regulatory Activity	8

5.	News from ONR	9

6.	Contacts	9

# Inspections

## Date(s) of Inspection

The ONR site inspector made inspections on the following dates during the report period 1 April 2024 – 30 Sept 2024:

11  - 12 June 2024

26 – 27 June 2024

24 Sept 2024

# Routine Matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

the Energy Act 2013;

the Health and Safety at Work etc Act 1974 (HSWA74); and

regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Trawsfynydd covered the following:

management of operations including control and supervision

radioactive waste management

staff training, qualifications and experience

decommissioning

conventional (non-nuclear) health and safety

security (adding security information to this report will be dependent on its classification)

Members of the public, who would like further information on our inspection activities during the reporting period, can view site Intervention Reports at www.onr.org.uk/intervention-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other Work

Throughout this reporting period, our  nominated site safety inspector has held fortnightly meetings with a Trawsfynydd leadership team representative. The aim of the meetings has been to maintain situational awareness on matters related to nuclear safety, security, safeguards, transport, and conventional health and safety, including workforce resilience, emergency arrangements resilience, fire safety, events and  other site activities. No significant issues were highlighted to ONR.

# Non-Routine Matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory Activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

No LIs, enforcement notices or enforcement letters were issued during this period:

# News from ONR

For the latest news and information from us, please read and subscribe to our regular email newsletter ‘ONR News’ at www.onr.org.uk/onrnews.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

website: www.onr.org.uk

email: 	Contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication please visit http://www.onr.org.uk/feedback.htm.

If you wish to reuse this information visit www.onr.org.uk/copyright.htm for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.